[image: image1.jpg]



                







April 24, 2013
Amistad Community Health Center
Renovation of Existing Medical Clinic
Corpus Christi, Texas

ADDENDUM NO. 1

This Addendum shall become part of the bidding documents for the work mentioned above and shall amend, modify or supersede the original documents (dated April, 2013) as the case may be.

SPECIFICATIONS
Item 1.  Division 0 – BIDDING AND CONTRACT REQUIREMENTS -“Bid Form”
“Preparation and Submission of Bids” Section “C” - The paragraph will be changed to read as follows: 


Provide three (3) copies of the bid, and three (3) copies of a list of all sub-contractors.  
These shall be reviewed by the Amistad Board along with the Architect.  Based upon this 
review, the final list of sub-contractors will be determined along with the project cost. 
The apparent low bidder will be asked to provide the sub-contractors bids for review by 
the Board and Architect prior to the award of the contract.
ARCHITECTURAL
Item 1. General Information

· All saw cutting of the existing foundation will be scheduled with the owner and Architect prior to beginning any work. We do not anticipate any of this work being done after hours.
· As discussed at the pre-bid meeting regarding the “Debar List”; See Attachment 1 for information regarding contractors that have been placed on this list.  

Amistad Community Health Center

Renovation of Existing Medical Clinic
Addendum No.1









Pg. 2
Item 2.  Sheet A-1 “General Notes”


Note #22 & 23 (Clarification) – All new Doors, hollow metal door frames, and door 
hardware, are to match existing in adjacent medical area.  New doors will be plastic 
laminate clad with particle board core. New hollow metal door frames will be KD 
drywall type, 16 gauge, Curries “C” frames
Item 3.  Sheet A-1 “General Notes”

Note #24 – Delete last sentence of note pertaining to matching tint of existing glazing.  Contractor will submit sample glazing for approval by Architect.

ATTACHMENT 1


END OF ADDENDUM NO. 1
[image: image2.jpg]



April 24, 2013
[image: image3.jpg]




[image: image4.jpg]615 N. Upper Broadway, Suite 1250 | Corpus Christi, TX 78477-0050 | T: 361.884.3295 F: 361.884.3298 | www.clkarch.com



